## Sheet2
Sr.No. | Instrument Name | Make | Model | Series | Category | Range start | Range End | Resolution | Unit | Accuracy | Reading Accuracy | Calibration Points |  |  |  |  | Description | Standard 1 | Standard 2 | Standard 3 | Calibration Certificate | Testing Certificate
1 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-0 | SERIES 2000 | GAUGE | 0 | 0.5 | 1 | inWC | 0.02 | 0.5 | 0 | 0.2 | 0.3 | 0.4 | 0.5 |  | 477AV-00
2 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-00 | SERIES 2000 | GAUGE | 0 | 0.25 | 1 | inWC | 0.02 | 0.5 | 0 | 0.1 | 0.15 | 0.2 | 0.25 |  | 477AV-00
3 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-0D | SERIES 2000 | GAUGE | 0 | 0.5 | 1 | inWC | 0.02 | 0.5 | 0 | 0.2 | 0.3 | 0.4 | 0.5 |  | 477AV-00
4 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-1000MBAR | SERIES 2000 | GAUGE | 0 | 100 | 1 | MBAR | 0.02 | 0.5 | 0 | 20 | 60 | 80 | 100 |  | 477AV-00
5 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-1000MM | SERIES 2000 | GAUGE | 0 | 1000 | 1 | mmwc | 0.02 | 0.5 | 0 | 200 | 600 | 800 | 1000 |  | 477AV-00
6 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-1000MM-HP | SERIES 2000 | GAUGE | 0 | 1000 | 1 | mmwc | 0.02 | 0.5 | 0 | 200 | 600 | 800 | 1000 |  | 477AV-00
7 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-1000PA | SERIES 2000 | GAUGE | 0 | 1000 | 1 | Pa | 0.02 | 0.5 | 0 | 200 | 600 | 800 | 1000 |  | 477AV-00
8 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-1000PA-ASF | SERIES 2000 | GAUGE | 0 | 1000 | 1 | Pa | 0.02 | 0.5 | 0 | 200 | 600 | 800 | 1000 |  | 477AV-00
9 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-100KPa | SERIES 2000 | GAUGE | 0 | 100 | 1 | KPa | 0.02 | 0.5 | 0 | 20 | 60 | 80 | 100 |  | 477AV-00
10 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-100MBAR | SERIES 2000 | GAUGE | 0 | 100 | 1 | MBAR | 0.02 | 0.5 | 0 | 20 | 60 | 80 | 100 |  | 477AV-00
11 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-100MM | SERIES 2000 | GAUGE | 0 | 100 | 1 | mmwc | 0.02 | 0.5 | 0 | 20 | 60 | 80 | 100 |  | 477AV-00
12 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-100MM-ASF | SERIES 2000 | GAUGE | 0 | 100 | 1 | mmwc | 0.02 | 0.5 | 0 | 20 | 60 | 80 | 100 |  | 477AV-00
13 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-100MM-BA | SERIES 2000 | GAUGE | 0 | 100 | 1 | mmwc | 0.02 | 0.5 | 0 | 20 | 60 | 80 | 100 |  | 477AV-00
14 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-100MM-SS | SERIES 2000 | GAUGE | 0 | 100 | 1 | mmwc | 0.02 | 0.5 | 0 | 20 | 60 | 80 | 100 |  | 477AV-00
15 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-100PA | SERIES 2000 | GAUGE | 0 | 100 | 1 | Pa | 0.02 | 0.5 | 0 | 20 | 60 | 80 | 100 |  | 477AV-00
16 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-100PA-HA | SERIES 2000 | GAUGE | 0 | 100 | 1 | Pa | 0.02 | 0.5 | 0 | 20 | 60 | 80 | 100 |  | 477AV-00
17 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-10KPa | SERIES 2000 | GAUGE | 0 | 10 | 1 | KPa | 0.02 | 0.5 | 0 | 2 | 6 | 8 | 10 |  | 477AV-00
18 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-10KPa-HP | SERIES 2000 | GAUGE | 0 | 10 | 1 | KPa | 0.02 | 0.5 | 0 | 2 | 6 | 8 | 10 |  | 477AV-00
19 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-10MBAR | SERIES 2000 | GAUGE | 0 | 10 | 1 | MBAR | 0.02 | 0.5 | 0 | 2 | 6 | 8 | 10 |  | 477AV-00
20 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-10MM | SERIES 2000 | GAUGE | 0 | 10 | 1 | mmwc | 0.02 | 0.5 | 0 | 2 | 6 | 8 | 10 |  | 477AV-00
21 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-125MM | SERIES 2000 | GAUGE | 0 | 125 | 1 | mmwc | 0.02 | 0.5 | 0 | 25 | 75 | 100 | 125 |  | 477AV-00
22 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-125PA | SERIES 2000 | GAUGE | 0 | 125 | 1 | Pa | 0.02 | 0.5 | 0 | 25 | 75 | 100 | 125 |  | 477AV-00
23 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-1500MM | SERIES 2000 | GAUGE | 0 | 1500 | 1 | mmwc | 0.02 | 0.5 | 0 | 300 | 500 | 1000 | 1500 |  | 477AV-00
24 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-1500MM-HP | SERIES 2000 | GAUGE | 0 | 1500 | 1 | mmwc | 0.02 | 0.5 | 0 | 300 | 500 | 1000 | 1500 |  | 477AV-00
25 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-1500PA | SERIES 2000 | GAUGE | 0 | 1500 | 1 | Pa | 0.02 | 0.5 | 0 | 300 | 500 | 1000 | 1500 |  | 477AV-00
26 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-150MM | SERIES 2000 | GAUGE | 0 | 150 | 1 | mmwc | 0.02 | 0.5 | 0 | 30 | 50 | 100 | 150 |  | 477AV-00
27 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-150PA | SERIES 2000 | GAUGE | 0 | 150 | 1 | Pa | 0.02 | 0.5 | 0 | 30 | 50 | 100 | 150 |  | 477AV-00
28 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-15CM | SERIES 2000 | GAUGE | 0 | 15 | 1 | cmwc | 0.02 | 0.5 | 0 | 3 | 5 | 10 | 15 |  | 477AV-00
29 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-15KPa | SERIES 2000 | GAUGE | 0 | 15 | 1 | KPa | 0.02 | 0.5 | 0 | 3 | 5 | 10 | 15 |  | 477AV-00
30 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-1.5KPa | SERIES 2000 | GAUGE | 0 | 1.5 | 1 | KPa | 0.02 | 0.5 | 0 | 0.3 | 0.5 | 1 | 1.5 |  | 477AV-00
31 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-15MM | SERIES 2000 | GAUGE | 0 | 15 | 1 | mmwc | 0.02 | 0.5 | 0 | 3 | 5 | 10 | 15 |  | 477AV-00
32 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-1KPa | SERIES 2000 | GAUGE | 0 | 1 | 1 | KPa | 0.02 | 0.5 | 0 | 0.2 | 0.6 | 0.8 | 1 |  | 477AV-00
33 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-2000 MM | SERIES 2000 | GAUGE | 0 | 2000 | 1 | mmwc | 0.02 | 0.5 | 0 | 500 | 1000 | 1500 | 2000 |  | 477AV-00
34 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-2000MM-HP | SERIES 2000 | GAUGE | 0 | 2000 | 1 | mmwc | 0.02 | 0.5 | 0 | 500 | 1000 | 1500 | 2000 |  | 477AV-00
35 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-2000PA | SERIES 2000 | GAUGE | 0 | 2000 | 1 | Pa | 0.02 | 0.5 | 0 | 500 | 1000 | 1500 | 2000 |  | 477AV-00
36 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-200MBAR | SERIES 2000 | GAUGE | 0 | 200 | 1 | MBAR | 0.02 | 0.5 | 0 | 50 | 100 | 150 | 200 |  | 477AV-00
37 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-200MM | SERIES 2000 | GAUGE | 0 | 200 | 1 | mmwc | 0.02 | 0.5 | 0 | 50 | 100 | 150 | 200 |  | 477AV-00
38 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-200PA | SERIES 2000 | GAUGE | 0 | 200 | 1 | Pa | 0.02 | 0.5 | 0 | 50 | 100 | 150 | 200 |  | 477AV-00
39 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-20CM | SERIES 2000 | GAUGE | 0 | 20 | 1 | cmwc | 0.02 | 0.5 | 0 | 5 | 10 | 15 | 20 |  | 477AV-00
40 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-20KPa | SERIES 2000 | GAUGE | 0 | 20 | 1 | KPa | 0.02 | 0.5 | 0 | 5 | 10 | 15 | 20 |  | 477AV-00
41 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-20MBAR | SERIES 2000 | GAUGE | 0 | 20 | 1 | MBAR | 0.02 | 0.5 | 0 | 5 | 10 | 15 | 20 |  | 477AV-00
42 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-20MM | SERIES 2000 | GAUGE | 0 | 20 | 1 | mmwc | 0.02 | 0.5 | 0 | 5 | 10 | 15 | 20 |  | 477AV-00
43 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-2500PA | SERIES 2000 | GAUGE | 0 | 2500 | 1 | Pa | 0.02 | 0.5 | 0 | 500 | 1000 | 2000 | 2500 |  | 477AV-00
44 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-250MM | SERIES 2000 | GAUGE | 0 | 250 | 1 | mmwc | 0.02 | 0.5 | 0 | 50 | 100 | 200 | 250 |  | 477AV-00
45 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-250PA | SERIES 2000 | GAUGE | 0 | 250 | 1 | Pa | 0.02 | 0.5 | 0 | 50 | 100 | 200 | 250 |  | 477AV-00
46 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-250PA-ASF | SERIES 2000 | GAUGE | 0 | 250 | 1 | Pa | 0.02 | 0.5 | 0 | 50 | 100 | 200 | 250 |  | 477AV-00
47 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-250PA-HA | SERIES 2000 | GAUGE | 0 | 250 | 1 | Pa | 0.02 | 0.5 | 0 | 50 | 100 | 200 | 250 |  | 477AV-00
48 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-25CM | SERIES 2000 | GAUGE | 0 | 25 | 1 | cmwc | 0.02 | 0.5 | 0 | 5 | 10 | 20 | 25 |  | 477AV-00
49 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-2.5KPa | SERIES 2000 | GAUGE | 0 | 2.5 | 1 | KPa | 0.02 | 0.5 | 0 | 0.5 | 1 | 2 | 2.5 |  | 477AV-00
50 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-25MBAR | SERIES 2000 | GAUGE | 0 | 25 | 1 | MBAR | 0.02 | 0.5 | 0 | 5 | 10 | 20 | 25 |  | 477AV-00
51 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-25MM | SERIES 2000 | GAUGE | 0 | 25 | 1 | mmwc | 0.02 | 0.5 | 0 | 5 | 10 | 20 | 25 |  | 477AV-00
52 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-2KG | SERIES 2000 | GAUGE | 0 | 2 | 1 | KG | 0.02 | 0.5 | 0.4 | 0.8 | 1.2 | 1.6 | 2 |  | 477AV-00
53 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-2KPa | SERIES 2000 | GAUGE | 0 | 2 | 1 | KPa | 0.02 | 0.5 | 0.4 | 0.8 | 1.2 | 1.6 | 2 |  | 477AV-00
54 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-3000MM-HP | SERIES 2000 | GAUGE | 0 | 3000 | 1 | mmwc | 0.02 | 0.5 | 0 | 500 | 1000 | 2000 | 3000 |  | 477AV-00
55 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-300MM | SERIES 2000 | GAUGE | 0 | 300 | 1 | mmwc | 0.02 | 0.5 | 0 | 50 | 100 | 200 | 300 |  | 477AV-00
56 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-300MM-BA | SERIES 2000 | GAUGE | 0 | 300 | 1 | mmwc | 0.02 | 0.5 | 0 | 50 | 100 | 200 | 300 |  | 477AV-00
57 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-300MM-SS | SERIES 2000 | GAUGE | 0 | 300 | 1 | mmwc | 0.02 | 0.5 | 0 | 50 | 100 | 200 | 300 |  | 477AV-00
58 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-300PA | SERIES 2000 | GAUGE | 0 | 300 | 1 | Pa | 0.02 | 0.5 | 0 | 50 | 100 | 200 | 300 |  | 477AV-00
59 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-300PA-SB | SERIES 2000 | GAUGE | 0 | 300 | 1 | Pa | 0.02 | 0.5 | 0 | 50 | 100 | 200 | 300 |  | 477AV-00
60 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-30MM | SERIES 2000 | GAUGE | 0 | 30 | 1 | mmwc | 0.02 | 0.5 | 0 | 5 | 10 | 20 | 30 |  | 477AV-00
61 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-30PA | SERIES 2000 | GAUGE | 0 | 30 | 1 | Pa | 0.02 | 0.5 | 0 | 5 | 10 | 20 | 30 |  | 477AV-00
62 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-350MBAR | SERIES 2000 | GAUGE | 0 | 350 | 1 | MBAR | 0.02 | 0.5 | 0 | 50 | 100 | 300 | 350 |  | 477AV-00
63 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-350MM | SERIES 2000 | GAUGE | 0 | 350 | 1 | mmwc | 0.02 | 0.5 | 0 | 50 | 100 | 300 | 350 |  | 477AV-00
64 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-3KPa | SERIES 2000 | GAUGE | 0 | 3 | 1 | KPa | 0.02 | 0.5 | 0 | 0.5 | 1 | 2 | 3 |  | 477AV-00
65 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-4000MM-HP | SERIES 2000 | GAUGE | 0 | 4000 | 1 | mmwc | 0.02 | 0.5 | 0 | 1000 | 2000 | 3000 | 4000 |  | 477AV-00
66 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-400MM | SERIES 2000 | GAUGE | 0 | 400 | 1 | mmwc | 0.02 | 0.5 | 0 | 100 | 200 | 300 | 400 |  | 477AV-00
67 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-400PA | SERIES 2000 | GAUGE | 0 | 400 | 1 | Pa | 0.02 | 0.5 | 0 | 100 | 200 | 300 | 400 |  | 477AV-00
68 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-5000MM | SERIES 2000 | GAUGE | 0 | 5000 | 1 | mmwc | 0.02 | 0.5 | 0 | 2000 | 3000 | 4000 | 5000 |  | 477AV-00
69 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-500MM | SERIES 2000 | GAUGE | 0 | 500 | 1 | mmwc | 0.02 | 0.5 | 0 | 200 | 300 | 400 | 500 |  | 477AV-00
70 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-500MM-HP | SERIES 2000 | GAUGE | 0 | 500 | 1 | mmwc | 0.02 | 0.5 | 0 | 200 | 300 | 400 | 500 |  | 477AV-00
71 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-500MM-SS | SERIES 2000 | GAUGE | 0 | 500 | 1 | mmwc | 0.02 | 0.5 | 0 | 200 | 300 | 400 | 500 |  | 477AV-00
72 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-500PA | SERIES 2000 | GAUGE | 0 | 500 | 1 | Pa | 0.02 | 0.5 | 0 | 200 | 300 | 400 | 500 |  | 477AV-00
73 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-500PA-ASF | SERIES 2000 | GAUGE | 0 | 500 | 1 | Pa | 0.02 | 0.5 | 0 | 200 | 300 | 400 | 500 |  | 477AV-00
74 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-500PA-HA | SERIES 2000 | GAUGE | 0 | 500 | 1 | Pa | 0.02 | 0.5 | 0 | 200 | 300 | 400 | 500 |  | 477AV-00
75 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-50CM | SERIES 2000 | GAUGE | 0 | 50 | 1 | cmwc | 0.02 | 0.5 | 0 | 20 | 30 | 40 | 50 |  | 477AV-00
76 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-50MM | SERIES 2000 | GAUGE | 0 | 50 | 1 | mmwc | 0.02 | 0.5 | 0 | 20 | 30 | 40 | 50 |  | 477AV-00
77 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-50MM-ASF | SERIES 2000 | GAUGE | 0 | 50 | 1 | mmwc | 0.02 | 0.5 | 0 | 20 | 30 | 40 | 50 |  | 477AV-00
78 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-50MM-BA | SERIES 2000 | GAUGE | 0 | 50 | 1 | mmwc | 0.02 | 0.5 | 0 | 20 | 30 | 40 | 50 |  | 477AV-00
79 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-50MM-HA | SERIES 2000 | GAUGE | 0 | 50 | 1 | mmwc | 0.02 | 0.5 | 0 | 20 | 30 | 40 | 50 |  | 477AV-00
80 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-50MM-M | SERIES 2000 | GAUGE | 0 | 50 | 1 | mmwc | 0.02 | 0.5 | 0 | 20 | 30 | 40 | 50 |  | 477AV-00
81 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-5KPa | SERIES 2000 | GAUGE | 0 | 5 | 1 | KPa | 0.02 | 0.5 | 0 | 2 | 3 | 4 | 5 |  | 477AV-00
82 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-5MBAR | SERIES 2000 | GAUGE | 0 | 5 | 1 | MBAR | 0.02 | 0.5 | 0 | 2 | 3 | 4 | 5 |  | 477AV-00
83 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-60MBAR | SERIES 2000 | GAUGE | 0 | 60 | 1 | MBAR | 0.02 | 0.5 | 0 | 15 | 30 | 45 | 60 |  | 477AV-00
84 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-60PA | SERIES 2000 | GAUGE | 0 | 60 | 1 | Pa | 0.02 | 0.5 | 0 | 15 | 30 | 45 | 60 |  | 477AV-00
85 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-60PA-HA | SERIES 2000 | GAUGE | 0 | 60 | 1 | Pa | 0.02 | 0.5 | 0 | 15 | 30 | 45 | 60 |  | 477AV-00
86 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-6KPa | SERIES 2000 | GAUGE | 0 | 6 | 1 | KPa | 0.02 | 0.5 | 0 | 1 | 3 | 5 | 6 |  | 477AV-00
87 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-6MM | SERIES 2000 | GAUGE | 0 | 6 | 1 | mmwc | 0.02 | 0.5 | 0 | 1 | 3 | 5 | 6 |  | 477AV-00
88 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-6MM-G-R | SERIES 2000 | GAUGE | 0 | 6 | 1 | mmwc | 0.02 | 0.5 | 0 | 1 | 3 | 5 | 6 |  | 477AV-00
89 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-700MM | SERIES 2000 | GAUGE | 0 | 700 | 1 | mmwc | 0.02 | 0.5 | 0 | 100 | 300 | 500 | 700 |  | 477AV-00
90 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-700PA | SERIES 2000 | GAUGE | 0 | 700 | 1 | Pa | 0.02 | 0.5 | 0 | 100 | 300 | 500 | 700 |  | 477AV-00
91 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-750MM | SERIES 2000 | GAUGE | 0 | 750 | 1 | mmwc | 0.02 | 0.5 | 0 | 100 | 300 | 500 | 750 |  | 477AV-00
92 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-750MM-HP | SERIES 2000 | GAUGE | 0 | 750 | 1 | mmwc | 0.02 | 0.5 | 0 | 100 | 300 | 500 | 750 |  | 477AV-00
93 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-750 MM-HP + A-286 | SERIES 2000 | GAUGE | 0 | 750 | 1 | mmwc | 0.02 | 0.5 | 0 | 100 | 300 | 500 | 750 |  | 477AV-00
94 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-750PA | SERIES 2000 | GAUGE | 0 | 750 | 1 | Pa | 0.02 | 0.5 | 0 | 100 | 300 | 500 | 750 |  | 477AV-00
95 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-75MM | SERIES 2000 | GAUGE | 0 | 75 | 1 | mmwc | 0.02 | 0.5 | 0 | 10 | 30 | 50 | 75 |  | 477AV-00
96 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-800MM | SERIES 2000 | GAUGE | 0 | 800 | 1 | mmwc | 0.02 | 0.5 | 0 | 200 | 400 | 600 | 800 |  | 477AV-00
97 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-800PA | SERIES 2000 | GAUGE | 0 | 800 | 1 | Pa | 0.02 | 0.5 | 0 | 200 | 400 | 600 | 800 |  | 477AV-00
98 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-80CM | SERIES 2000 | GAUGE | 0 | 80 | 1 | cmwc | 0.02 | 0.5 | 0 | 20 | 40 | 60 | 80 |  | 477AV-00
99 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-80MM | SERIES 2000 | GAUGE | 0 | 80 | 1 | mmwc | 0.02 | 0.5 | 0 | 20 | 40 | 60 | 80 |  | 477AV-00
100 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2300-2000PA | SERIES 2000 | GAUGE | -1000 | 1000 | 1 | Pa | 0.02 | 0.5 | 0 | 200 | 600 | 800 | 1000 |  | 477AV-00
101 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | MAFS-2000MM | SERIES 2000 | GAUGE | 0 |  | 1 |  | 0.02 | 0.5 | [6 empty] | 477AV-00
102 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | MS BOX WITH SS PLATE FOR DM2000-150X150X75MM | SERIES 2000 | GAUGE | 0 |  | 1 |  | 0.02 | 0.5 | [6 empty] | 477AV-00
103 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | MS powder coated Box for 2000-500PA | SERIES 2000 | GAUGE | 0 |  | 1 |  | 0.02 | 0.5 | [6 empty] | 477AV-00
104 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | S2000-250MM | SERIES 2000 | GAUGE | 0 |  | 1 |  | 0.02 | 0.5 | [6 empty] | 477AV-00
105 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | SL-2000-P | SERIES 2000 | GAUGE | 0 |  | 1 |  | 0.02 | 0.5 | [6 empty] | 477AV-00
106 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-150CM | SERIES 2000 | GAUGE | 0 | 150 | 1 | cmwc | 0.02 | 0.5 | 0 | 30 | 50 | 100 | 150 |  | 477AV-00
107 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-100MM | SERIES 2000 | GAUGE | 0 | 100 | 1 | mmwc | 0.02 | 0.5 | 0 | 20 | 60 | 80 | 100 |  | 477AV-00
108 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-200CM | SERIES 2000 | GAUGE | 0 | 200 | 1 | cmwc | 0.02 | 0.5 | 0 | 50 | 100 | 150 | 200 |  | 477AV-00
109 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-250MM | SERIES 2000 | GAUGE | 0 | 250 | 1 | mmwc | 0.02 | 0.5 | 0 | 50 | 100 | 200 | 250 |  | 477AV-00
110 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-6MM | SERIES 2000 | GAUGE | 0 | 6 | 1 | mmwc | 0.02 | 0.5 | 0 | 1 | 3 | 5 | 6 |  | 477AV-00
111 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-2.5KPa | SERIES 2000 | GAUGE | 0 | 2.5 | 1 | Kpa | 0.02 | 0.5 | 0 | 0.5 | 1 | 2 | 2.5 |  | 477AV-00
112 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-00N | SERIES 2000 | GAUGE | 0.05 | 0.2 | 1 | inWC | 0.02 | 0.5 | 0 | 0.05 | 0.1 | 0.15 | 0.2 |  | 477AV-00
113 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-10mm | SERIES 2000 | GAUGE | 0 | 10 | 1 | mmwc | 0.02 | 0.5 | 0 | 2 | 6 | 8 | 10 |  | 477AV-00
114 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-8KPa | SERIES 2000 | GAUGE | 0 | 8 | 1 | KPa | 0.02 | 0.5 | 0 | 2 | 4 | 6 | 8 |  | 477AV-00
115 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-15KPa | SERIES 2000 | GAUGE | 0 | 15 | 1 | KPa | 0.02 | 0.5 | 0 | 3 | 5 | 10 | 15 |  | 477AV-00
116 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-150MM | SERIES 2000 | GAUGE | 0 | 150 | 1 | mmwc | 0.02 | 0.5 | 0 | 30 | 50 | 100 | 150 |  | 477AV-00
117 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-30KPa | SERIES 2000 | GAUGE | 0 | 30 | 1 | KPa | 0.02 | 0.5 | 0 | 5 | 10 | 20 | 30 |  | 477AV-00
118 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-60NPA | SERIES 2000 | GAUGE | 0 | 60 | 1 | NPA | 0.02 | 0.5 | 0 | 15 | 30 | 45 | 60 |  | 477AV-00
119 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-00AV | SERIES 2000 | GAUGE | 0 | 0.25 | 1 | inWC | 0.02 | 0.5 | 0 | 0.1 | 0.15 | 0.2 | 0.25 |  | 477AV-00
120 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-60PA | SERIES 2000 | GAUGE | 0 | 60 | 1 | Pa | 0.02 | 0.5 | 0 | 15 | 30 | 45 | 60 |  | 477AV-00
121 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-25KPa | SERIES 2000 | GAUGE | 0 | 25 | 1 | KPa | 0.02 | 0.5 | 0 | 5 | 10 | 20 | 25 |  | 477AV-00
122 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-50MM | SERIES 2000 | GAUGE | 0 | 50 | 1 | mmwc | 0.02 | 0.5 | 0 | 20 | 30 | 40 | 50 |  | 477AV-00
123 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-100CM | SERIES 2000 | GAUGE | 0 | 100 | 1 | cmwc | 0.02 | 0.5 | 0 | 20 | 60 | 80 | 100 |  | 477AV-00
124 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-80MM | SERIES 2000 | GAUGE | 0 | 80 | 1 | mmwc | 0.02 | 0.5 | 0 | 20 | 40 | 60 | 80 |  | 477AV-00
125 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-25CM | SERIES 2000 | GAUGE | 0 | 25 | 1 | cmwc | 0.02 | 0.5 | 0 | 5 | 10 | 20 | 25 |  | 477AV-00
126 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-250PA | SERIES 2000 | GAUGE | 0 | 250 | 1 | PA | 0.02 | 0.5 | 0 | 50 | 100 | 200 | 250 |  | 477AV-00
127 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-4KPa | SERIES 2000 | GAUGE | 0 | 4 | 1 | KPa | 0.02 | 0.5 | 0 | 1 | 2 | 3 | 4 |  | 477AV-00
128 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-300CM | SERIES 2000 | GAUGE | 0 | 300 | 1 | cmwc | 0.02 | 0.5 | 0 | 50 | 100 | 200 | 300 |  | 477AV-00
129 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-00D | SERIES 2000 | GAUGE | 0 | 0.25 | 1 | inWC | 0.02 | 0.5 | 0 | 0.1 | 0.15 | 0.2 | 0.25 |  | 477AV-00
130 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-50CM | SERIES 2000 | GAUGE | 0 | 50 | 1 | cmwc | 0.02 | 0.5 | 0 | 20 | 30 | 40 | 50 |  | 477AV-00
131 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-250CM | SERIES 2000 | GAUGE | 0 | 250 | 1 | cmwc | 0.02 | 0.5 | 0 | 50 | 100 | 200 | 250 |  | 477AV-00
132 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-0.5KPa | SERIES 2000 | GAUGE | 0 | 0.5 | 1 | KPA | 0.02 | 0.5 | 0 | 0.2 | 0.3 | 0.4 | 0.5 |  | 477AV-00
133 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-500PA | SERIES 2000 | GAUGE | 0 | 500 | 1 | PA | 0.02 | 0.5 | 0 | 200 | 300 | 400 | 500 |  | 477AV-00
134 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-25MM | SERIES 2000 | GAUGE | 0 | 25 | 1 | mmwc | 0.02 | 0.5 | 0 | 5 | 10 | 20 | 25 |  | 477AV-00
135 | DIFFERENTIAL PRESSURE GAUGE | Dwyer | 2000-0AV | SERIES 2000 | GAUGE | 0 | 0.5 | 1 | inWC | 0.02 | 0.5 | 0 | 0.2 | 0.3 | 0.4 | 0.5 |  | 477AV-00