## RHP
Sr.No. | Instrument Name | Make | Model | Series | Category | RH Range start | Temperature Range start | RH Range End | Temperature Range End | Resolution | RH Unit | Temperature Unit | Accuracy | Reading Accuracy | Calibration Points |  |  |  |  | Calibration Points |  |  |  |  | Description | Standard 1 | Standard 2 | Calibration Certificate | Testing Certificate
1 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2D2A | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
2 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2D2B | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
3 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2D2D | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
4 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2D2E | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
5 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2D2F | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
6 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2D20 | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
7 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2D1A | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
8 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2D1B | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
9 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2D1D | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
10 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2D1E | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
11 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2D1F | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
12 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2D10 | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
13 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3D1A | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
14 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3D1B | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
15 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3D1D | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
16 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3D1F | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
17 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3D2B | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
18 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3D2D | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
19 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3D2E | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
20 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3D2F | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
21 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3D20 | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
22 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3D3E | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
23 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3D1E | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
24 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3D10 | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
25 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2O10 | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
26 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2O11 | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
27 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2O1A | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
28 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2O22 | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
29 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2O1B | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
30 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2O1D | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
31 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2O1E | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
32 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2O1F | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
33 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2O20 | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
34 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2O2A | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
35 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2O2B | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
36 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2O2D | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
37 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2O2E | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
38 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2O2F | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
39 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3O10 | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
40 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3O11 | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
41 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3O1A | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
42 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3O1B | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
43 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3O1D | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
44 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3O1E | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
45 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3O1F | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
46 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3O20 | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
47 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3O22 | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
48 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3O2A | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
49 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3O2B | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
50 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3O2E | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
51 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3O2F | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
52 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2R11 | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
53 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2R1B | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
54 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3R11 | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
55 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2M11 | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
56 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3M10 | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
57 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3M11 | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
58 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3M1A | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
59 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3M1B | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
60 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3M20 | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
61 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2S1B | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
62 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-2S11 | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
63 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3S1A | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
64 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3S1B | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
65 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3S11 | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
66 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3S22 | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
67 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3S2A | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
68 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHP-3S2B | SERIES RHP | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
69 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-2LHA0-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
70 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-2LHAA-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
71 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-2LHAB-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
72 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-2LSA0-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
73 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-2LSAA-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
74 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-2LSAB-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
75 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-2LWA0-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
76 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-2LWAA-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
77 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-2LWAB-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
78 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-2SDA0-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
79 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-2SDA0-00-LCD | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
80 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-2SDAA-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
81 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-2SDAB-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
82 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-2SDC0-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
83 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-2SRA0-04 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
84 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-2SRA0-08 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
85 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-2SRA0-16 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
86 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-2SSAA-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
87 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-2SSA0-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
88 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-2SSA0-00-LCD | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
89 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-2SSAB-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
90 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-2SWA0-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
91 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-2SWA0-00-LCD | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
92 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-2SWAA-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
93 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-2SWAB-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 2% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
94 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-3LHA0-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
95 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-3LHAA-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
96 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-3LHAB-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
97 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-3LSA0-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
98 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-3LSAA-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
99 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-3LSAB-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
100 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-3LWA0-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
101 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-3LWAA-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
102 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-3LWAB-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
103 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-3SBA0-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
104 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-3SBA0-00-LCD | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
105 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-3SDA0-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
106 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-3SDA0-00-LCD | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
107 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-3SDAA-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
108 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-3SDAB-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
109 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-3SDC0-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
110 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-3SRA0-08 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
111 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-3SRA0-16 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
112 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-3SSA0-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
113 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-3SSAA-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
114 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-3SSAB-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
115 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-3SWA0-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
116 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-3SWAA-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400
117 | HUMIDITY/TEMPERATURE TRANSMITTER | Dwyer | RHPX-3SWAB-00 | SERIES RHPX | Transmitter | 0 | (-)40 | 100 | 60 | 1 | %RH | °C | 3% | 0.5 | 0 | 25 | 50 | 75 | 100 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) CONDUIT CONNECTION : Duct mount: 1/2˝ NPS; OSA: 1/2˝ (22.3 mm). ENCLOSURE RATING : Duct mount: NEMA 4X (IP66) for housing only; OSA: NEMA 4X (IP66). | ASC-400

## BTT
Sr.No. | Instrument Name | Make | Model | Series | Category | Temperature Range start | Temperature Range End | Resolution | Temperature Unit | Accuracy | Reading Accuracy | Calibration Points |  |  |  |  | Description | Standard 1 | Standard 2 | Calibration Certificate | Testing Certificate
1 | TEMPERATURE TRANSMITTER | Dwyer | BTT-D04-1 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
2 | TEMPERATURE TRANSMITTER | Dwyer | BTT-D04-2 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
3 | TEMPERATURE TRANSMITTER | Dwyer | BTT-D06-1 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
4 | TEMPERATURE TRANSMITTER | Dwyer | BTT-D06-2 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
5 | TEMPERATURE TRANSMITTER | Dwyer | BTT-D08-1 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
6 | TEMPERATURE TRANSMITTER | Dwyer | BTT-D08-2 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
7 | TEMPERATURE TRANSMITTER | Dwyer | BTT-D12-1 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
8 | TEMPERATURE TRANSMITTER | Dwyer | BTT-D12-2 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
9 | TEMPERATURE TRANSMITTER | Dwyer | BTT-D18-1 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
10 | TEMPERATURE TRANSMITTER | Dwyer | BTT-D18-2 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
11 | TEMPERATURE TRANSMITTER | Dwyer | BTT-D25-1 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
12 | TEMPERATURE TRANSMITTER | Dwyer | BTT-D25-2 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
13 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I04-1 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
14 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I04-2 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
15 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I04-5 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
16 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I04-6 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
17 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I06-1 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
18 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I06-2 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
19 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I06-5 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
20 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I06-6 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
21 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I08-1 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
22 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I08-2 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
23 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I08-5 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
24 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I08-6 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
25 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I12-1 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
26 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I12-2 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
27 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I12-5 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
28 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I12-6 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
29 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I25-1 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
30 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I25-2 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
31 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I25-5 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
32 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I25-6 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
33 | TEMPERATURE TRANSMITTER | Dwyer | BTT-O25-1 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
34 | TEMPERATURE TRANSMITTER | Dwyer | BTT-O25-2 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
35 | TEMPERATURE TRANSMITTER | Dwyer | BTT-R25-1 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
36 | TEMPERATURE TRANSMITTER | Dwyer | BTT-R25-2 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
37 | TEMPERATURE TRANSMITTER | Dwyer | BTT-D08-1+TE-TNS-N063N-00 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
38 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I04-1+TE-TNS-N043N-00 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
39 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I04-2+TE-TNS-N043N-00 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
40 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I06-1 + TE-TNS-N063N-00 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
41 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I08-1+TE-TNS-N063N-00 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
42 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I08-1+TE-TNS-N083N-00 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
43 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I08-1 + TE-TNS-N103N-00 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
44 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I10-1 + TE-TNS-N103N-00 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
45 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I12-1+TE-TNS-N063N-00 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
46 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I12-1+TE-TNS-N123N-00 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
47 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I18-1+TE-TNS-N183N-00 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
48 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I20-1+TE-TNS-N203N-00 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
49 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I22-1+TE-TNS-N223N-00 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
50 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I24-1+TE-TNS-N243N-00 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
51 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I25-1+TE-TNS-N063N-00 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
52 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I25-1+TE-TNS-N253N-00 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400
53 | TEMPERATURE TRANSMITTER | Dwyer | BTT-I34-1+TE-TNS-N343N-00 | SERIES BTT | Transmitter | (-)40 | 60 | 1 | °C | 0.5% | 0.5 | -40 | -15 | 10 | 35 | 60 | TEMPERATURE LIMIT : -40 to 140°F (-40 to 60°C) PROCESS CONNECTION : 1/2" NPT (immersion models only) ENCLOSURE RATING : NEMA 4X (IP66) (immersions models require Thermowell) | ASC-400